## Relay Equipment
Tag | Serial Number | Model | Model Code | Voltage Class | Technology | Manufacturer | Country | Bay | Substation | Status | Description | Created At
REL-P122-P122204-MF-2B1 | SN-P122_204-MF-2B1 | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 204-MF-2B1 |  | ACTIVE | Processado de P122_204-MF-2B1_2014-07-28_params.csv | 2025-10-28T16:25:47.411964
REL-P122-P122204-PN-04 | SN-P122_204-PN-04_ | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 204-PN-04 |  | ACTIVE | Processado de P122_204-PN-04_2014-08-02_params.csv | 2025-10-28T16:25:47.422197
REL-P122-P122204-PN-05 | SN-P122_204-PN-05_ | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 204-PN-05 |  | ACTIVE | Processado de P122_204-PN-05_2014-08-09_params.csv | 2025-10-28T16:25:47.430133
REL-P122-P122204-PN-06 | SN-P122_204-PN-06_ | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 204-PN-06 |  | ACTIVE | Processado de P122_204-PN-06_LADO_A_2014-08-01_params.csv | 2025-10-28T16:25:47.437963
REL-P122-P122204-PN-06-f291841f | SN-P122_204-PN-06_ | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 204-PN-06 |  | ACTIVE | Processado de P122_204-PN-06_LADO_B_2014-08-09_params.csv | 2025-10-28T16:25:47.445705
REL-P122-P122205-TF-3A | 30660020 | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 205-TF-3A |  | ACTIVE | Processado de P122_205-TF-3A_2021-03-08_params.csv | 2025-10-28T16:25:47.463685
REL-P122-P122205-TF-3B | SN-P122_205-TF-3B_ | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 205-TF-3B |  | ACTIVE | Processado de P122_205-TF-3B_2018-06-13_params.csv | 2025-10-28T16:25:47.472154
REL-P122-P12252-MF-02A | 30660030 | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-02A |  | ACTIVE | Processado de P122 52-MF-02A_2021-03-08_params.csv | 2025-10-28T16:25:47.371131
REL-P122-P12252-MF-03A1 | 20560060 | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-03A |  | ACTIVE | Processado de P122 52-MF-03A1_2021-03-11_params.csv | 2025-10-28T16:25:47.391764
REL-P122-P12252-MF-03B | SN-P_122 52-MF-03B | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-03B |  | ACTIVE | Processado de P_122 52-MF-03B1_2021-03-17_params.csv | 2025-10-28T16:25:47.849502
REL-P122-P12252-MP-202 | 47120066 | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-20 |  | ACTIVE | Processado de P122_52-MP-20_2018-08-20_params.csv | 2025-10-28T16:25:47.489089
REL-P122-P12252-Z-08L | SN-P122_52-Z-08_L_ | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-Z-08 |  | ACTIVE | Processado de P122_52-Z-08_L_PATIO_2014-08-06_params.csv | 2025-10-28T16:25:47.508180
REL-P122-P12252-Z-08L-8cdd528c | SN-P122_52-Z-08_L_ | P122 | P122 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-Z-08 |  | ACTIVE | Processado de P122_52-Z-08_L_REATOR_2014-08-07_params.csv | 2025-10-28T16:25:47.516529
REL-P122-P220-52-MP-08B | SN-P220-52-MP-08B_ | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-08B |  | ACTIVE | Processado de P220-52-MP-08B_2016-03-11_params.csv | 2025-10-28T16:25:47.724816
REL-P122-P220223-MP-01A | SN-P220 223-MP-01A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 223-MP-01A |  | ACTIVE | Processado de P220 223-MP-01A_params.csv | 2025-10-28T16:25:47.582978
REL-P122-P220223-MP-01B | SN-P220 223-MP-01B | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 223-MP-01B |  | ACTIVE | Processado de P220 223-MP-01B_params.csv | 2025-10-28T16:25:47.591447
REL-P122-P22052-MK-02A | SN-P220_52-MK-02A_ | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MK-02A |  | ACTIVE | Processado de P220_52-MK-02A_2020-07-08_params.csv | 2025-10-28T16:25:47.732338
REL-P122-P22052-MK-02B | SN-P220_52-MK-02B_ | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MK-02B |  | ACTIVE | Processado de P220_52-MK-02B_2017-11-07_params.csv | 2025-10-28T16:25:47.742496
REL-P122-P22052-MP-01A | SN-P220 52-MP-01A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-01A |  | ACTIVE | Processado de P220 52-MP-01A_params.csv | 2025-10-28T16:25:47.600775
REL-P122-P22052-MP-04A | SN-P220 52-MP-04A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-04A |  | ACTIVE | Processado de P220 52-MP-04A_params.csv | 2025-10-28T16:25:47.609258
REL-P122-P22052-MP-04B | SN-P220 52-MP-04B | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-04B |  | ACTIVE | Processado de P220 52-MP-04B_params.csv | 2025-10-28T16:25:47.617120
REL-P122-P22052-MP-06A | SN-P220 52-MP-06A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-06A |  | ACTIVE | Processado de P220 52-MP-06A_params.csv | 2025-10-28T16:25:47.627905
REL-P122-P22052-MP-06B | SN-P220 52-MP-06B | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-06B |  | ACTIVE | Processado de P220 52-MP-06B_params.csv | 2025-10-28T16:25:47.635872
REL-P122-P22052-MP-08A | SN-P220 52-MP-08A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-08A |  | ACTIVE | Processado de P220 52-MP-08A_params.csv | 2025-10-28T16:25:47.644472
REL-P122-P22052-MP-21A | SN-P220 52-MP-21A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-21A |  | ACTIVE | Processado de P220 52-MP-21A_params.csv | 2025-10-28T16:25:47.653371
REL-P122-P22052-MP-21B | SN-P220 52-MP-21B | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-21B |  | ACTIVE | Processado de P220 52-MP-21B_params.csv | 2025-10-28T16:25:47.661672
REL-P122-P22052-MP-29B | SN-P220 52-MP-29B | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-29B |  | ACTIVE | Processado de P220 52-MP-29B_params.csv | 2025-10-28T16:25:47.669930
REL-P122-P22052-MP-30 | SN-P220 52-MP-30 | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MP-30 |  | ACTIVE | Processado de P220 52-MP-30_params.csv | 2025-10-28T16:25:47.678742
REL-P122-P22053-MP-01A | SN-P220 53-MP-01A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 53-MP-01A |  | ACTIVE | Processado de P220 53-MP-01A_params.csv | 2025-10-28T16:25:47.689261
REL-P122-P22053-MP-01B | SN-P220 53-MP-01B | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 53-MP-01B |  | ACTIVE | Processado de P220 53-MP-01B_params.csv | 2025-10-28T16:25:47.698011
REL-P122-P22053-MP-08A | SN-P220 53-MP-08A | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 53-MP-08A |  | ACTIVE | Processado de P220 53-MP-08A_params.csv | 2025-10-28T16:25:47.707181
REL-P122-P22053-MP-08B | SN-P220 53-MP-08B | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 53-MP-08B |  | ACTIVE | Processado de P220 53-MP-08B_params.csv | 2025-10-28T16:25:47.715755
REL-P122-P22054-MP-1A2 | SN-P220_54-MP-1A_2 | P220 | P220 | 13.8kV-138kV | Digital | Schneider Electric | França | 54-MP-1A |  | ACTIVE | Processado de P220_54-MP-1A_2018-11-13_params.csv | 2025-10-28T16:25:47.751548
REL-P122-P92252-MF-01BC | SN-P922 52-MF-01BC | P922 | P922 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-01B |  | ACTIVE | Processado de P922 52-MF-01BC_params.csv | 2025-10-28T16:25:47.779166
REL-P122-P92252-MF-02AC | SN-P922 52-MF-02AC | P922 | P922 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-02A |  | ACTIVE | Processado de P922 52-MF-02AC_params.csv | 2025-10-28T16:25:47.789050
REL-P122-P92252-MF-03AC | SN-P922 52-MF-03AC | P922 | P922 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-03A |  | ACTIVE | Processado de P922 52-MF-03AC_params.csv | 2025-10-28T16:25:47.798832
REL-P122-P92252-MF-03BC | SN-P922 52-MF-03BC | P922 | P922 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-03B |  | ACTIVE | Processado de P922 52-MF-03BC_params.csv | 2025-10-28T16:25:47.808786
REL-P122-P92252-MF-2BC | SN-P922 52-MF-2BC_ | P922 | P922 | 13.8kV-138kV | Digital | Schneider Electric | França | 52-MF-2BC |  | ACTIVE | Processado de P922 52-MF-2BC_2021-03-06_params.csv | 2025-10-28T16:25:47.828899
REL-P122-P922S204-MF-1A | SN-P922S_204-MF-1A | P922 | P922 | 13.8kV-138kV | Digital | Schneider Electric | França | 204-MF-1AC |  | ACTIVE | Processado de P922S_204-MF-1AC_2014-07-28_params.csv | 2025-10-28T16:25:47.840851
REL-SEPAMS40-00-MF-122016-0 | SN-00-MF-12_2016-0 | SEPAM S40 | SEPAM S40 |  | Digital | Schneider Electric | França | 00-MF-12 |  | ACTIVE | Processado de 00-MF-12_2016-03-31_params.csv | 2025-10-28T16:25:47.296862
REL-SEPAMS40-00-MF-142016-0 | SN-00-MF-14_2016-0 | SEPAM S40 | SEPAM S40 |  | Digital | Schneider Electric | França | 00-MF-14 |  | ACTIVE | Processado de 00-MF-14_2016-03-31_params.csv | 2025-10-28T16:25:47.324447
REL-SEPAMS40-00-MF-242024-0 | SN-00-MF-24_2024-0 | SEPAM S40 | SEPAM S40 |  | Digital | Schneider Electric | França | 00-MF-24 |  | ACTIVE | Processado de 00-MF-24_2024-09-10_params.csv | 2025-10-28T16:25:47.352072